BEYOND LIGHTING ENGINEERING INTERNSHIP

DAY 170 STUDENT HANDBOOK

Production Management and Site Delivery — Assessment Project

Assessment and presentation. Full student study guide and practical laboratory manual for Beyond Enterprise interns.

| DAY MODE | LEVEL | DURATION | CORE TOOLS |
| --- | --- | --- | --- |
| Assessment and presentation | intermediate-to-advanced | 8.0 hours | Beyond fixtures and controllers, free visualizer software, full inventory, PPE, site docum |

Day 170 objective  Complete the assessment and presentation for Production Management and Site Delivery — Assessment Project: Plan, execute, verify, present, and safely close an assessment project covering the complete production management and site delivery phase.

Non-negotiable rule  Respect working-at-height rules and PPE. Calculate power before energizing. Never hang fixtures without approved hardware.

Continuity  Day 1 safety, evidence, and documentation rules remain in force. Beyond fixtures/controllers and free visualizer software approved by the supervisor.

# How to use this handbook

Follow the activities in order. Capture evidence at checkpoints. Write the report while the work is fresh. Do not skip verification. Stop and ask a supervisor before changing production systems, shared accounts, or using unapproved cloud/AI services.

Order: authorization → tool verify → lab → independent verification → evidence → report → checklists.

Submit: Assessment demonstration, reproducible project/equipment package, verification and restoration evidence, safety review, and professional report..

Supervisor approval required for production changes, paid services, or offensive/security-sensitive actions outside the sandbox.

# Suggested daily schedule

| TIME | ACTIVITY | OUTPUT |
| --- | --- | --- |
| 0:00–0:30 | Assessment brief + rubric review | Plan |
| 0:30–2:30 | End-to-end demonstration | Demo evidence |
| 2:30–2:45 | Break | — |
| 2:45–4:15 | Self-score against rubric | Self-score sheet |
| 4:15–5:45 | Reflection: wins, failures, next steps | Reflection |
| 5:45–8:00 | Final evidence pack + report | Submission |

# Learning outcomes

Curriculum objective (source of truth): Plan, execute, verify, present, and safely close an assessment project covering the complete production management and site delivery phase.

Explain Production Management and Site Delivery — Assessment Project to a supervisor in under two minutes.

Configure or verify the approved tools required for Production Management and Site Delivery — Assessment Project.

Implement or perform the assessment and presentation practical for this topic.

Verify the result with at least one independent method.

Diagnose a common failure using the troubleshooting table.

Document procedure, results, limitations, and safety controls professionally.

# Key concepts

Define the professional meaning of “Production Management and Site Delivery — Assessment Project” before you use tools. Do not split the title into meaningless words. Connect each concept to today's practical action.

| TERM | PLAIN-LANGUAGE MEANING | TODAY'S ACTION | COMMON FAILURE | CONTROL |
| --- | --- | --- | --- | --- |
| Core topic skill | Professional practice for Production Management and Site Delivery — Assessment Project | Complete today's practical objective | Shallow buzzword-only work | Demonstrate with evidence |
| Tool discipline | Use only approved tools/versions | Verify tools before lab | Unapproved downloads | Official sources only |
| Professional documentation | Clear enough for handover | Write procedure + results | Undocumented changes | README + report template |
| Authorization boundary | What systems and data you may touch today | Complete the pre-flight checklist | Working on production by mistake | Stop and ask supervisor if unclear |
| Reproducible evidence | Another person can rerun or inspect your work | Use standard filenames and a Day folder | Missing versions or secret screenshots | Freeze versions; privacy-check screenshots |
| Verification | A second method that confirms the result | Rerun / second measurement / peer check | Screenshot-only ‘proof’ | Pair evidence with an independent check |

# Prerequisites and authorization check

Prior learning: complete earlier days in this program through Day 169 as assigned.

Authorized Beyond workstation, lab, VM, or equipment only.

Required permissions confirmed (admin install rights only if approved).

Tools available: Beyond fixtures and controllers, free visualizer software, full inventory, PPE, site documents, communication tools.

Backup/rollback plan: do not overwrite prior Day evidence folders.

Data/equipment classification understood; no unauthorized sensitive data.

Authorization  If any item is unclear, stop and ask the supervisor. Do not bypass security controls.

# Download and installation guide

Do not repeat a full Day-1 install unless verification fails and the supervisor approves. Verify the tools listed for this day, then continue.

| TOOL / CHECK | VERIFICATION |
| --- | --- |
| Beyond fixtures and controllers, free visualizer software, full inventory, PPE, site documents, communication tools | Confirm presence/version with supervisor list |

# Project and file organization

Beyond_Lighting_Internship/

└── Day_170_Production_Management_and_Site_Delivery_Assessme/

├── evidence/

├── diagrams/

├── checklists/

├── report/

└── README.md

Secrets  Never place passwords, API keys, tokens, personal records, or client data in the submission folder.

# Environment setup

Inspect assigned Beyond equipment and power conditions.

Confirm PPE and spotter requirements.

Stage cables/connectors/tools on a clean, labelled work area.

Photograph the starting state for evidence (no private backgrounds).

Confirm rollback/restore condition with the supervisor before major changes.

# Step-by-step practical lab

Assessment and presentation: Production Management and Site Delivery — Assessment Project

Curriculum instructions (expanded below into executable steps):

• Review the Day 170 scope, prerequisite from Day 169, and supervisor instructions before touching software, accounts, cables, power, rigging, networks, or equipment.

• Confirm the authorized lab/equipment boundary, owner, asset IDs, workspace condition, backup/rollback state, emergency procedure, and any PPE or spotter requirement.

• Verify only the approved tools for today: Beyond fixtures and controllers, free visualizer software, full inventory, PPE, site documents, communication tools. Record versions, firmware, serial/asset references, calibration status, or configuration as relevant. Avoid unnecessary installation or updates.

• Create Day_170_production_management_and_site_delivery__assessment_project with evidence, diagrams or src, checklists or tests, output, and report folders.

• Capture a privacy-reviewed baseline photograph/screenshot and record expected result, measurement units, acceptance limit, and stop condition.

• Complete the practical objective: Plan, execute, verify, present, and safely close an assessment project covering the complete production management and site delivery phase.

• Introduce or analyze only an approved controlled fault/edge case. Troubleshoot systematically, preserve evidence, and return the lab/equipment to its approved state.

• Verify independently through a second instrument/path/test, clean rerun, configuration comparison, peer check, or supervisor sign-off. Distinguish evidence from proof.

• Complete the discipline safety/ethics checklist, inventory/custody or cleanup check, and a professional report with honest limitations and assistance disclosure.

Equipment checklist companion (copy into report and mark DONE):

# Day 170 lab checklist script (text companion)

# Topic: Production Management and Site Delivery — Assessment Project

# Mode: Assessment and presentation

# This program is equipment-led. Use the handbook steps on Beyond-authorized gear.

# Mark each line DONE in your report when complete. Do not invent equipment access.

[ ] Authorization and PPE confirmed

[ ] Equipment / software from the approved tools list verified

[ ] Practical procedure for "Production Management and Site Delivery — Assessment Project" completed

[ ] Independent verification (second check / peer / supervisor) completed

[ ] Evidence captured with day-170_ filenames

[ ] Safety controls recorded

## Step 1: Pre-flight authorization

| FIELD | DETAIL |
| --- | --- |
| Action | Pre-flight authorization |
| Command / work | Complete checklist |
| Expected result | All boxes checked |
| What it proves | Safe scope |
| Evidence | day-170_preflight.png |
| Likely failure | Unclear permission |
| Safe corrective action | Stop; ask supervisor |

## Step 2: Prepare workspace / project folder

| FIELD | DETAIL |
| --- | --- |
| Action | Prepare workspace / project folder |
| Command / work | Create Day folder tree |
| Expected result | Folder exists |
| What it proves | Organization |
| Evidence | day-170_folders.png |
| Likely failure | Wrong location |
| Safe corrective action | Use Documents path / approved lab path |

## Step 3: Verify tools

| FIELD | DETAIL |
| --- | --- |
| Action | Verify tools |
| Command / work | Version or equipment check |
| Expected result | Tools confirmed |
| What it proves | Readiness |
| Evidence | day-170_tools.png |
| Likely failure | Missing tool |
| Safe corrective action | Use official source or ask supervisor |

## Step 4: Execute practical

| FIELD | DETAIL |
| --- | --- |
| Action | Execute practical |
| Command / work | Follow mode procedure for topic |
| Expected result | Expected lab result |
| What it proves | Skill demonstration |
| Evidence | day-170_practical.png |
| Likely failure | Procedure fails |
| Safe corrective action | Change one variable; log hypothesis |

## Step 5: Independent verification

| FIELD | DETAIL |
| --- | --- |
| Action | Independent verification |
| Command / work | Second method / rerun / peer |
| Expected result | Confirmed result |
| What it proves | Proof beyond a screenshot |
| Evidence | day-170_verify.png |
| Likely failure | Mismatch |
| Safe corrective action | Do not fabricate; document and escalate if stuck |

## Step 6: Package evidence + report

| FIELD | DETAIL |
| --- | --- |
| Action | Package evidence + report |
| Command / work | Filenames + report template |
| Expected result | Complete pack |
| What it proves | Assessable submission |
| Evidence | day-170_pack_list.png |
| Likely failure | Missing files |
| Safe corrective action | Use submission checklist |

# Rigging & power safety checkpoint

| RISK | POSSIBLE HARM | PREVENTION | DETECTION | APPROVER |
| --- | --- | --- | --- | --- |
| Unauthorized system/data use | Breach, outage, legal issue | Lab-only scope | Supervisor spot check | Supervisor |
| Unsafe procedure | Injury or equipment damage | PPE + written steps | Buddy/supervisor observe | Student + supervisor |
| Secret/PII leakage | Privacy incident | Synthetic/approved data; redact screenshots | Submission review | Student |
| Irreproducible work | Cannot assess internship | Versions + rerun proof | Second-run evidence | Student |
| Overclaiming readiness | Bad production decision | State limitations clearly | Rubric / oral check | Supervisor |

# Evaluation and metrics

| CHECK | SUCCESS CRITERION | LIMITATION |
| --- | --- | --- |
| Functional result | Meets today's objective | Classroom demo ≠ production |
| Safety compliance | No rule breached | Still needs supervisor judgment |
| Reproducibility | Second check agrees | Environment drift possible |

# Independent verification

Rerun the procedure after restarting the tool/session/environment.

Use a second method: manual calculation, alternate meter/path, unit test, log review, or peer check.

Distinguish evidence (what you captured) from proof (why it is correct).

# Troubleshooting guide

| SYMPTOM | LIKELY CAUSE | SAFE FIRST ACTION | VERIFY AFTER | ESCALATE IF |
| --- | --- | --- | --- | --- |
| Tool missing / won't start | Wrong install or PATH | Official reinstall/verify only if approved | Version command works | Image is locked by IT |
| Lab step fails | Skipped prerequisite | Re-read prior step; change one variable | Expected output appears | Hardware fault suspected |
| Intermittent result | Cable/power/network flake | Reseat/inspect; simplify path | Stable for 3 repeats | Shared infra involved |
| Permission error | Account/policy limit | Do not bypass; ask supervisor | Approved alternate path | Blocks required evidence |
| Unclear authorization | Scope ambiguity | STOP work | Written clarification | Always escalate |

Five-minute failure procedure  Before review: correct folder, tools verified, rerun practical, open evidence files, hide notifications/secrets, know your main limitation.

# Evidence checkpoints

| FILE | MUST SHOW | WHY | PRIVACY/SAFETY | FORMAT |
| --- | --- | --- | --- | --- |
| day-170_tools.png | Tools/versions or staged gear | Readiness | No secrets | PNG/JPEG |
| day-170_practical.png | Key practical result | Execution | No PII | PNG/JPEG |
| day-170_verify.png | Second check | Verification | No notifications | PNG/JPEG |
| report/day-170_technical_report.md | Full report | Assessment | No credentials | MD/PDF |
| README.md | How to reproduce | Handover | No secrets | MD |

# Professional technical report guide

Title and metadata

Objective

Scope and authorization

Concept summary

Environment / equipment and versions

Data or input description

Procedure

Results

Evaluation

Evidence references

Safety, ethics, and risk controls

Independent verification

Troubleshooting

Limitations

Conclusion and next step

AI/tool assistance disclosure (if any)

References

Example AI disclosure  I used [approved tool/model] to assist with [specific task]. I did not provide personal or client data. I independently verified [claims/results] using [method]. I corrected or rejected [brief description], and I remain responsible for the submitted work.

# Submission checklists

## A. Safety and ethics checklist

Authorized scope only

PPE/lab rules followed

No secrets/PII in submission

Honest time and troubleshooting notes

Respect working-at-height rules and PPE. Calculate power before energizing. Never hang fixtures without approved hardwar…

## B. Technical completion checklist

Objective addressed for Production Management and Site Delivery — Assessment Project

Assessment and presentation practical completed

Verification done

Tools/equipment checked

Limitations stated

## C. Evidence and report checklist

Required screenshots/files present

Filenames follow day-XX_… pattern

Report complete

Matches: Assessment demonstration, reproducible project/equipment package, verification and restoration evidence, safety review, and professional report.

Prior day evidence not overwritten

# Self-check questions

Explain Production Management and Site Delivery — Assessment Project without reading.

What method did you choose and why?

How did you verify the result?

Name one failure mode and its control.

What is the first safe troubleshooting action if the demo fails?

Why is today's work not production-ready?

What requires supervisor approval before you go further?

# Two-minute supervisor explanation

Today is Day 170 (Assessment and presentation) on Production Management and Site Delivery — Assessment Project. I worked only in the authorized Beyond lighting / stage lab. I completed the practical objective, verified with a second check, and packaged evidence. Main risk: unauthorized or unsafe action; control: checklist + supervisor escalation. Limitation: classroom/lab scope only. Next: continue the topic cycle and keep documentation reproducible.

# Supervisor assessment rubric

| AREA | PASS EVIDENCE | WEIGHT |
| --- | --- | --- |
| Safe and authorized setup | Checklist + lab-only scope | 15% |
| Technical execution | Working practical result | 25% |
| Concept understanding | Clear oral/written definitions | 15% |
| Evaluation and verification | Second-method proof | 15% |
| Responsible practice | Risk controls applied | 10% |
| Evidence quality | Clear files, no secrets | 10% |
| Professional reporting | Complete report | 5% |
| Honest troubleshooting | Real notes / no fabrication | 5% |

Pass mark from curriculum: 60%.

# Official references

Access check date: 2026-08-10. Prefer first-party sources. Do not invent URLs.

Fixture/console manuals assigned by Beyond

Local electrical and height-safety rules

Instructor Review Required  If local Beyond policy conflicts with an optional tool or online service mentioned here, follow Beyond policy and record the Assumption in your report.