BEYOND SOFTWARE DEVELOPMENT INTERNSHIP

DAY 119 STUDENT HANDBOOK

DevOps and Containers — Integration, Documentation, and Handover

Integration and documentation. Full student study guide and practical laboratory manual for Beyond Enterprise interns.

| DAY MODE | LEVEL | DURATION | CORE TOOLS |
| --- | --- | --- | --- |
| Integration and documentation | intermediate | 8.0 hours | VS Code, Git, Docker, GitHub Actions approved, local registry |

Day 119 objective  Complete the integration and documentation for DevOps and Containers — Integration, Documentation, and Handover: Integrate the four devops and containers skill areas into one reproducible workflow, diagram, checklist, evidence pack, and handover note.

Non-negotiable rule  Never commit passwords or API keys. Test only on local/dev environments. Get approval before deploying shared systems.

Continuity  Day 1 safety, evidence, and documentation rules remain in force. VS Code, Git, GitHub (or Beyond-approved Git host), local databases, open-source stacks.

# How to use this handbook

Follow the activities in order. Capture evidence at checkpoints. Write the report while the work is fresh. Do not skip verification. Stop and ask a supervisor before changing production systems, shared accounts, or using unapproved cloud/AI services.

Order: authorization → tool verify → lab → independent verification → evidence → report → checklists.

Submit: Baseline evidence, completed practical artifact, independent verification, safety/restoration record, and short professional report..

Supervisor approval required for production changes, paid services, or offensive/security-sensitive actions outside the sandbox.

# Suggested daily schedule

| TIME | ACTIVITY | OUTPUT |
| --- | --- | --- |
| 0:00–0:30 | Assessment brief + rubric review | Plan |
| 0:30–2:30 | End-to-end demonstration | Demo evidence |
| 2:30–2:45 | Break | — |
| 2:45–4:15 | Self-score against rubric | Self-score sheet |
| 4:15–5:45 | Reflection: wins, failures, next steps | Reflection |
| 5:45–8:00 | Final evidence pack + report | Submission |

# Learning outcomes

Curriculum objective (source of truth): Integrate the four devops and containers skill areas into one reproducible workflow, diagram, checklist, evidence pack, and handover note.

Explain DevOps and Containers — Integration, Documentation, and Handover to a supervisor in under two minutes.

Configure or verify the approved tools required for DevOps and Containers — Integration, Documentation, and Handover.

Implement or perform the integration and documentation practical for this topic.

Verify the result with at least one independent method.

Diagnose a common failure using the troubleshooting table.

Document procedure, results, limitations, and safety controls professionally.

# Key concepts

Define the professional meaning of “DevOps and Containers — Integration, Documentation, and Handover” before you use tools. Do not split the title into meaningless words. Connect each concept to today's practical action.

| TERM | PLAIN-LANGUAGE MEANING | TODAY'S ACTION | COMMON FAILURE | CONTROL |
| --- | --- | --- | --- | --- |
| Shared responsibility | What you secure vs what the provider secures | List responsibilities for today's service | Assuming the cloud is ‘safe by default’ | Checklist in report |
| Cost control | Free-tier/billing limits | Set alerts; destroy unused resources | Forgotten running VMs | End-of-day teardown evidence |
| Secrets handling | Keys never in git or screenshots | Use placeholders / env files | Leaked tokens | Secret scan of submission folder |
| Authorization boundary | What systems and data you may touch today | Complete the pre-flight checklist | Working on production by mistake | Stop and ask supervisor if unclear |
| Reproducible evidence | Another person can rerun or inspect your work | Use standard filenames and a Day folder | Missing versions or secret screenshots | Freeze versions; privacy-check screenshots |
| Verification | A second method that confirms the result | Rerun / second measurement / peer check | Screenshot-only ‘proof’ | Pair evidence with an independent check |

# Prerequisites and authorization check

Prior learning: complete earlier days in this program through Day 118 as assigned.

Authorized Beyond workstation, lab, VM, or equipment only.

Required permissions confirmed (admin install rights only if approved).

Tools available: VS Code, Git, Docker, GitHub Actions approved, local registry.

Backup/rollback plan: do not overwrite prior Day evidence folders.

Data/equipment classification understood; no unauthorized sensitive data.

Authorization  If any item is unclear, stop and ask the supervisor. Do not bypass security controls.

# Download and installation guide

Do not repeat a full Day-1 install unless verification fails and the supervisor approves. Verify the tools listed for this day, then continue.

| TOOL / CHECK | VERIFICATION |
| --- | --- |
| VS Code, Git, Docker, GitHub Actions approved, local registry | Confirm presence/version with supervisor list |

python3 --version || py --version

python3 -m pip check || py -m pip check

# Project and file organization

Beyond_SoftwareDev_Internship/

└── Day_119_DevOps_and_Containers_Integration_Documentation_/

├── evidence/

├── notebooks/

├── src/

├── data/

├── output/

├── report/

├── requirements.txt

└── README.md

Windows PowerShell:

cd "$HOME\Documents"

mkdir Beyond_SoftwareDev_Internship\Day_119_DevOps_and_Containers_Integration_Documentation_\evidence, Beyond_SoftwareDev_Internship\Day_119_DevOps_and_Containers_Integration_Documentation_\notebooks, Beyond_SoftwareDev_Internship\Day_119_DevOps_and_Containers_Integration_Documentation_\src, Beyond_SoftwareDev_Internship\Day_119_DevOps_and_Containers_Integration_Documentation_\data, Beyond_SoftwareDev_Internship\Day_119_DevOps_and_Containers_Integration_Documentation_\output, Beyond_SoftwareDev_Internship\Day_119_DevOps_and_Containers_Integration_Documentation_\report -Force

macOS / Linux:

cd ~/Documents

mkdir -p Beyond_SoftwareDev_Internship/Day_119_DevOps_and_Containers_Integration_Documentation_/{evidence,notebooks,src,data,output,report}

Secrets  Never place passwords, API keys, tokens, personal records, or client data in the submission folder.

# Environment setup

Open today's folder in VS Code (or approved editor).

Activate the project virtual environment if this program uses Python.

Select the correct interpreter/kernel.

Install only packages required for this day (supervisor-approved).

Export requirements when asked: python -m pip freeze > requirements.txt

Use placeholders such as API_KEY=YOUR_APPROVED_LAB_KEY — never real secrets.

# Step-by-step practical lab

Integration and documentation: DevOps and Containers — Integration, Documentation, and Handover

Curriculum instructions (expanded below into executable steps):

• Review the Day 119 scope, prerequisite from Day 118, and supervisor instructions before touching software, accounts, cables, power, rigging, networks, or equipment.

• Confirm the authorized lab/equipment boundary, owner, asset IDs, workspace condition, backup/rollback state, emergency procedure, and any PPE or spotter requirement.

• Verify only the approved tools for today: VS Code, Git, Docker, GitHub Actions approved, local registry. Record versions, firmware, serial/asset references, calibration status, or configuration as relevant. Avoid unnecessary installation or updates.

• Create Day_119_devops_and_containers__integration_documentation_and_handover with evidence, diagrams or src, checklists or tests, output, and report folders.

• Capture a privacy-reviewed baseline photograph/screenshot and record expected result, measurement units, acceptance limit, and stop condition.

• Complete the practical objective: Integrate the four devops and containers skill areas into one reproducible workflow, diagram, checklist, evidence pack, and handover note.

• Introduce or analyze only an approved controlled fault/edge case. Troubleshoot systematically, preserve evidence, and return the lab/equipment to its approved state.

• Verify independently through a second instrument/path/test, clean rerun, configuration comparison, peer check, or supervisor sign-off. Distinguish evidence from proof.

• Complete the discipline safety/ethics checklist, inventory/custody or cleanup check, and a professional report with honest limitations and assistance disclosure.

Create `src/day_119_lab.py` (starter):

# day_119_lab.py — Integration and documentation: DevOps and Containers — Integration, Documentation, and Handover

# Beyond internship lab starter. Synthetic/approved data only. Not production-ready.

"""Day 119 practical starter for DevOps and Containers — Integration, Documentation, and Handover.

Instructions for the student:

1. Keep this file under src/.

2. Replace TODO sections with your work for today's mode.

3. Print clear expected outputs.

4. Capture evidence filenames listed in the handbook.

"""

from __future__ import annotations

def main() -> None:

print("Beyond internship lab")

print("Program topic:", 'DevOps and Containers — Integration, Documentation, and Handover')

print("Day mode:", 'Integration and documentation')

# TODO: implement today's practical checks below.

checks = {

"authorization_confirmed": True,  # set False until checklist complete

"environment_verified": True,

"practical_step_done": False,  # flip to True when your lab step works

}

for k, v in checks.items():

print(f"{k}: {v}")

if not all(checks.values()):

print("INCOMPLETE: finish TODO practical work, then rerun.")

return

print("OK: starter checks passed. Replace TODOs with real measurements/outputs.")

if __name__ == "__main__":

main()

## Step 1: Pre-flight authorization

| FIELD | DETAIL |
| --- | --- |
| Action | Pre-flight authorization |
| Command / work | Complete checklist |
| Expected result | All boxes checked |
| What it proves | Safe scope |
| Evidence | day-119_preflight.png |
| Likely failure | Unclear permission |
| Safe corrective action | Stop; ask supervisor |

## Step 2: Prepare workspace / project folder

| FIELD | DETAIL |
| --- | --- |
| Action | Prepare workspace / project folder |
| Command / work | Create Day folder tree |
| Expected result | Folder exists |
| What it proves | Organization |
| Evidence | day-119_folders.png |
| Likely failure | Wrong location |
| Safe corrective action | Use Documents path / approved lab path |

## Step 3: Verify tools

| FIELD | DETAIL |
| --- | --- |
| Action | Verify tools |
| Command / work | Version or equipment check |
| Expected result | Tools confirmed |
| What it proves | Readiness |
| Evidence | day-119_tools.png |
| Likely failure | Missing tool |
| Safe corrective action | Use official source or ask supervisor |

## Step 4: Execute practical

| FIELD | DETAIL |
| --- | --- |
| Action | Execute practical |
| Command / work | Follow mode procedure for topic |
| Expected result | Expected lab result |
| What it proves | Skill demonstration |
| Evidence | day-119_practical.png |
| Likely failure | Procedure fails |
| Safe corrective action | Change one variable; log hypothesis |

## Step 5: Independent verification

| FIELD | DETAIL |
| --- | --- |
| Action | Independent verification |
| Command / work | Second method / rerun / peer |
| Expected result | Confirmed result |
| What it proves | Proof beyond a screenshot |
| Evidence | day-119_verify.png |
| Likely failure | Mismatch |
| Safe corrective action | Do not fabricate; document and escalate if stuck |

## Step 6: Package evidence + report

| FIELD | DETAIL |
| --- | --- |
| Action | Package evidence + report |
| Command / work | Filenames + report template |
| Expected result | Complete pack |
| What it proves | Assessable submission |
| Evidence | day-119_pack_list.png |
| Likely failure | Missing files |
| Safe corrective action | Use submission checklist |

# Secure development checkpoint

| RISK | POSSIBLE HARM | PREVENTION | DETECTION | APPROVER |
| --- | --- | --- | --- | --- |
| Unauthorized system/data use | Breach, outage, legal issue | Lab-only scope | Supervisor spot check | Supervisor |
| Unsafe procedure | Injury or equipment damage | PPE + written steps | Buddy/supervisor observe | Student + supervisor |
| Secret/PII leakage | Privacy incident | Synthetic/approved data; redact screenshots | Submission review | Student |
| Irreproducible work | Cannot assess internship | Versions + rerun proof | Second-run evidence | Student |
| Overclaiming readiness | Bad production decision | State limitations clearly | Rubric / oral check | Supervisor |

# Evaluation and metrics

| CHECK | SUCCESS CRITERION | LIMITATION |
| --- | --- | --- |
| Functional result | Meets today's objective | Classroom demo ≠ production |
| Safety compliance | No rule breached | Still needs supervisor judgment |
| Reproducibility | Second check agrees | Environment drift possible |

# Independent verification

Rerun the procedure after restarting the tool/session/environment.

Use a second method: manual calculation, alternate meter/path, unit test, log review, or peer check.

Distinguish evidence (what you captured) from proof (why it is correct).

# Troubleshooting guide

| SYMPTOM | LIKELY CAUSE | SAFE FIRST ACTION | VERIFY AFTER | ESCALATE IF |
| --- | --- | --- | --- | --- |
| Tool missing / won't start | Wrong install or PATH | Official reinstall/verify only if approved | Version command works | Image is locked by IT |
| Lab step fails | Skipped prerequisite | Re-read prior step; change one variable | Expected output appears | Hardware fault suspected |
| Intermittent result | Cable/power/network flake | Reseat/inspect; simplify path | Stable for 3 repeats | Shared infra involved |
| Permission error | Account/policy limit | Do not bypass; ask supervisor | Approved alternate path | Blocks required evidence |
| Unclear authorization | Scope ambiguity | STOP work | Written clarification | Always escalate |

Five-minute failure procedure  Before review: correct folder, tools verified, rerun practical, open evidence files, hide notifications/secrets, know your main limitation.

# Evidence checkpoints

| FILE | MUST SHOW | WHY | PRIVACY/SAFETY | FORMAT |
| --- | --- | --- | --- | --- |
| day-119_tools.png | Tools/versions or staged gear | Readiness | No secrets | PNG/JPEG |
| day-119_practical.png | Key practical result | Execution | No PII | PNG/JPEG |
| day-119_verify.png | Second check | Verification | No notifications | PNG/JPEG |
| report/day-119_technical_report.md | Full report | Assessment | No credentials | MD/PDF |
| README.md | How to reproduce | Handover | No secrets | MD |

# Professional technical report guide

Title and metadata

Objective

Scope and authorization

Concept summary

Environment / equipment and versions

Data or input description

Procedure

Results

Evaluation

Evidence references

Safety, ethics, and risk controls

Independent verification

Troubleshooting

Limitations

Conclusion and next step

AI/tool assistance disclosure (if any)

References

Example AI disclosure  I used [approved tool/model] to assist with [specific task]. I did not provide personal or client data. I independently verified [claims/results] using [method]. I corrected or rejected [brief description], and I remain responsible for the submitted work.

# Submission checklists

## A. Safety and ethics checklist

Authorized scope only

PPE/lab rules followed

No secrets/PII in submission

Honest time and troubleshooting notes

Never commit passwords or API keys. Test only on local/dev environments. Get approval before deploying shared systems.…

## B. Technical completion checklist

Objective addressed for DevOps and Containers — Integration, Documentation, and Handover

Integration and documentation practical completed

Verification done

Tools/equipment checked

Limitations stated

## C. Evidence and report checklist

Required screenshots/files present

Filenames follow day-XX_… pattern

Report complete

Matches: Baseline evidence, completed practical artifact, independent verification, safety/restoration record, and short professional report.

Prior day evidence not overwritten

# Self-check questions

Explain DevOps and Containers — Integration, Documentation, and Handover without reading.

What method did you choose and why?

How did you verify the result?

Name one failure mode and its control.

What is the first safe troubleshooting action if the demo fails?

Why is today's work not production-ready?

What requires supervisor approval before you go further?

# Two-minute supervisor explanation

Today is Day 119 (Integration and documentation) on DevOps and Containers — Integration, Documentation, and Handover. I worked only in the authorized Beyond software engineering lab. I completed the practical objective, verified with a second check, and packaged evidence. Main risk: unauthorized or unsafe action; control: checklist + supervisor escalation. Limitation: classroom/lab scope only. Next: continue the topic cycle and keep documentation reproducible.

# Supervisor assessment rubric

| AREA | PASS EVIDENCE | WEIGHT |
| --- | --- | --- |
| Safe and authorized setup | Checklist + lab-only scope | 15% |
| Technical execution | Working practical result | 25% |
| Concept understanding | Clear oral/written definitions | 15% |
| Evaluation and verification | Second-method proof | 15% |
| Responsible practice | Risk controls applied | 10% |
| Evidence quality | Clear files, no secrets | 10% |
| Professional reporting | Complete report | 5% |
| Honest troubleshooting | Real notes / no fabrication | 5% |

Pass mark from curriculum: 60%.

# Official references

Access check date: 2026-08-10. Prefer first-party sources. Do not invent URLs.

Git documentation — https://git-scm.com/doc

OWASP Top Ten — https://owasp.org/www-project-top-ten/

VS Code docs — https://code.visualstudio.com/docs

Instructor Review Required  If local Beyond policy conflicts with an optional tool or online service mentioned here, follow Beyond policy and record the Assumption in your report.